## parameters
| version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.10.1 | FALSE | FALSE |  | 50 | 100

## bus
| name | vn_kv | type | zone | in_service | min_vm_pu | max_vm_pu
0 | 100 | 138 | b | 11 | TRUE | 0.95 | 1.05
1 | 101 | 138 | b | 12 | TRUE | 0.95 | 1.05
2 | 102 | 138 | b | 11 | TRUE | 0.95 | 1.05
3 | 103 | 138 | b | 11 | TRUE | 0.95 | 1.05
4 | 104 | 138 | b | 11 | TRUE | 0.95 | 1.05
5 | 105 | 138 | b | 12 | TRUE | 0.95 | 1.05
6 | 106 | 138 | b | 12 | TRUE | 0.95 | 1.05
7 | 107 | 138 | b | 12 | TRUE | 0.95 | 1.05
8 | 108 | 138 | b | 13 | TRUE | 0.95 | 1.05
9 | 109 | 138 | b | 13 | TRUE | 0.95 | 1.05
10 | 110 | 230 | b | 13 | TRUE | 0.95 | 1.05
11 | 111 | 230 | b | 13 | TRUE | 0.95 | 1.05
12 | 112 | 230 | b | 14 | TRUE | 0.95 | 1.05
13 | 113 | 230 | b | 16 | TRUE | 0.95 | 1.05
14 | 114 | 230 | b | 16 | TRUE | 0.95 | 1.05
15 | 115 | 230 | b | 16 | TRUE | 0.95 | 1.05
16 | 116 | 230 | b | 17 | TRUE | 0.95 | 1.05
17 | 117 | 230 | b | 17 | TRUE | 0.95 | 1.05
18 | 118 | 230 | b | 15 | TRUE | 0.95 | 1.05
19 | 119 | 230 | b | 15 | TRUE | 0.95 | 1.05
20 | 120 | 230 | b | 17 | TRUE | 0.95 | 1.05
21 | 121 | 230 | b | 17 | TRUE | 0.95 | 1.05
22 | 122 | 230 | b | 15 | TRUE | 0.95 | 1.05
23 | 123 | 230 | b | 16 | TRUE | 0.95 | 1.05
24 | 124 | 230 | b | 13 | TRUE | 0.95 | 1.05
25 | 125 | 230 | b | 15 | TRUE | 0.95 | 1.05
26 | 126 | 230 | b | 17 | TRUE | 0.95 | 1.05
27 | 127 | 138 | b | 12 | TRUE | 0.95 | 1.05
28 | 200 | 138 | b | 21 | TRUE | 0.95 | 1.05
29 | 201 | 138 | b | 22 | TRUE | 0.95 | 1.05
30 | 202 | 138 | b | 21 | TRUE | 0.95 | 1.05
31 | 203 | 138 | b | 21 | TRUE | 0.95 | 1.05
32 | 204 | 138 | b | 21 | TRUE | 0.95 | 1.05
33 | 205 | 138 | b | 22 | TRUE | 0.95 | 1.05
34 | 206 | 138 | b | 22 | TRUE | 0.95 | 1.05
35 | 207 | 138 | b | 22 | TRUE | 0.95 | 1.05
36 | 208 | 138 | b | 23 | TRUE | 0.95 | 1.05
37 | 209 | 138 | b | 23 | TRUE | 0.95 | 1.05
38 | 210 | 230 | b | 23 | TRUE | 0.95 | 1.05
39 | 211 | 230 | b | 23 | TRUE | 0.95 | 1.05
40 | 212 | 230 | b | 24 | TRUE | 0.95 | 1.05
41 | 213 | 230 | b | 26 | TRUE | 0.95 | 1.05
42 | 214 | 230 | b | 26 | TRUE | 0.95 | 1.05
43 | 215 | 230 | b | 26 | TRUE | 0.95 | 1.05
44 | 216 | 230 | b | 27 | TRUE | 0.95 | 1.05
45 | 217 | 230 | b | 27 | TRUE | 0.95 | 1.05
46 | 218 | 230 | b | 25 | TRUE | 0.95 | 1.05
47 | 219 | 230 | b | 25 | TRUE | 0.95 | 1.05
48 | 220 | 230 | b | 27 | TRUE | 0.95 | 1.05
49 | 221 | 230 | b | 27 | TRUE | 0.95 | 1.05
50 | 222 | 230 | b | 25 | TRUE | 0.95 | 1.05
51 | 223 | 230 | b | 26 | TRUE | 0.95 | 1.05
52 | 224 | 230 | b | 23 | TRUE | 0.95 | 1.05
53 | 225 | 138 | b | 21 | TRUE | 0.95 | 1.05
54 | 226 | 230 | b | 26 | TRUE | 0.95 | 1.05
55 | 227 | 138 | b | 21 | TRUE | 0.95 | 1.05
56 | 228 | 230 | b | 27 | TRUE | 0.95 | 1.05
57 | 300 | 138 | b | 31 | TRUE | 0.95 | 1.05
58 | 301 | 138 | b | 32 | TRUE | 0.95 | 1.05
59 | 302 | 138 | b | 31 | TRUE | 0.95 | 1.05
60 | 303 | 138 | b | 31 | TRUE | 0.95 | 1.05
61 | 304 | 138 | b | 31 | TRUE | 0.95 | 1.05
62 | 305 | 138 | b | 32 | TRUE | 0.95 | 1.05
63 | 306 | 138 | b | 32 | TRUE | 0.95 | 1.05
64 | 307 | 138 | b | 32 | TRUE | 0.95 | 1.05
65 | 308 | 138 | b | 33 | TRUE | 0.95 | 1.05
66 | 309 | 138 | b | 33 | TRUE | 0.95 | 1.05
67 | 310 | 230 | b | 33 | TRUE | 0.95 | 1.05
68 | 311 | 230 | b | 33 | TRUE | 0.95 | 1.05
69 | 312 | 230 | b | 34 | TRUE | 0.95 | 1.05
70 | 313 | 230 | b | 36 | TRUE | 0.95 | 1.05
71 | 314 | 230 | b | 36 | TRUE | 0.95 | 1.05
72 | 315 | 230 | b | 36 | TRUE | 0.95 | 1.05
73 | 316 | 230 | b | 37 | TRUE | 0.95 | 1.05
74 | 317 | 230 | b | 37 | TRUE | 0.95 | 1.05
75 | 318 | 230 | b | 35 | TRUE | 0.95 | 1.05
76 | 319 | 230 | b | 35 | TRUE | 0.95 | 1.05
77 | 320 | 230 | b | 37 | TRUE | 0.95 | 1.05
78 | 321 | 230 | b | 37 | TRUE | 0.95 | 1.05
79 | 322 | 230 | b | 35 | TRUE | 0.95 | 1.05
80 | 323 | 230 | b | 36 | TRUE | 0.95 | 1.05
81 | 324 | 230 | b | 35 | TRUE | 0.95 | 1.05
82 | 325 | 138 | b | 31 | TRUE | 0.95 | 1.05
83 | 326 | 230 | b | 33 | TRUE | 0.95 | 1.05
84 | 327 | 138 | b | 31 | TRUE | 0.95 | 1.05
85 | 328 | 230 | b | 35 | TRUE | 0.95 | 1.05
86 | 329 | 230 | b | 37 | TRUE | 0.95 | 1.05
87 | 330 | 230 | b | 34 | TRUE | 0.95 | 1.05
88 | 331 | 138 | b | 32 | TRUE | 0.95 | 1.05
89 | 332 | 230 | b | 37 | TRUE | 0.95 | 1.05
90 | 333 | 230 | b | 33 | TRUE | 0.95 | 1.05

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type | controllable
0 |  | 0 | 31.5325 | 22 | 0 | 0 |  | 1 | TRUE |  | FALSE
1 |  | 1 | 28.3209 | 20 | 0 | 0 |  | 1 | TRUE |  | FALSE
2 |  | 2 | 52.5542 | 37 | 0 | 0 |  | 1 | TRUE |  | FALSE
3 |  | 3 | 21.6056 | 15 | 0 | 0 |  | 1 | TRUE |  | FALSE
4 |  | 4 | 20.7297 | 14 | 0 | 0 |  | 1 | TRUE |  | FALSE
5 |  | 5 | 39.7076 | 28 | 0 | 0 |  | 1 | TRUE |  | FALSE
6 |  | 6 | 18.248 | 25 | 0 | 0 |  | 1 | TRUE |  | FALSE
7 |  | 7 | 49.9265 | 35 | 0 | 0 |  | 1 | TRUE |  | FALSE
8 |  | 8 | 51.0944 | 36 | 0 | 0 |  | 1 | TRUE |  | FALSE
9 |  | 9 | 56.9338 | 40 | 0 | 0 |  | 1 | TRUE |  | FALSE
10 |  | 12 | 77.3715 | 54 | 0 | 0 |  | 1 | TRUE |  | FALSE
11 |  | 13 | 56.6418 | 39 | 0 | 0 |  | 1 | TRUE |  | FALSE
12 |  | 14 | 92.5539 | 64 | 0 | 0 |  | 1 | TRUE |  | FALSE
13 |  | 15 | 29.1968 | 20 | 0 | 0 |  | 1 | TRUE |  | FALSE
14 |  | 17 | 48.6127 | 68 | 0 | 0 |  | 1 | TRUE |  | FALSE
15 |  | 18 | 52.8462 | 37 | 0 | 0 |  | 1 | TRUE |  | FALSE
16 |  | 19 | 37.3719 | 26 | 0 | 0 |  | 1 | TRUE |  | FALSE
17 |  | 26 | 48.6127 | 68 | 0 | 0 |  | 1 | TRUE |  | FALSE
18 |  | 27 | 18.248 | 25 | 0 | 0 |  | 1 | TRUE |  | FALSE
19 |  | 28 | 19.8022 | 22 | 0 | 0 |  | 1 | TRUE |  | FALSE
20 |  | 29 | 35.5705 | 20 | 0 | 0 |  | 1 | TRUE |  | FALSE
21 |  | 30 | 33.0036 | 37 | 0 | 0 |  | 1 | TRUE |  | FALSE
22 |  | 31 | 27.1363 | 15 | 0 | 0 |  | 1 | TRUE |  | FALSE
23 |  | 32 | 26.0362 | 14 | 0 | 0 |  | 1 | TRUE |  | FALSE
24 |  | 33 | 49.8721 | 28 | 0 | 0 |  | 1 | TRUE |  | FALSE
25 |  | 34 | 45.8383 | 25 | 0 | 0 |  | 1 | TRUE |  | FALSE
26 |  | 35 | 62.7068 | 35 | 0 | 0 |  | 1 | TRUE |  | FALSE
27 |  | 36 | 64.1736 | 36 | 0 | 0 |  | 1 | TRUE |  | FALSE
28 |  | 37 | 71.5078 | 40 | 0 | 0 |  | 1 | TRUE |  | FALSE
29 |  | 40 | 97.1772 | 54 | 0 | 0 |  | 1 | TRUE |  | FALSE
30 |  | 41 | 35.5705 | 39 | 0 | 0 |  | 1 | TRUE |  | FALSE
31 |  | 42 | 116.246 | 64 | 0 | 0 |  | 1 | TRUE |  | FALSE
32 |  | 43 | 36.6706 | 20 | 0 | 0 |  | 1 | TRUE |  | FALSE
33 |  | 45 | 122.1133 | 68 | 0 | 0 |  | 1 | TRUE |  | FALSE
34 |  | 46 | 66.3739 | 37 | 0 | 0 |  | 1 | TRUE |  | FALSE
35 |  | 47 | 46.9384 | 26 | 0 | 0 |  | 1 | TRUE |  | FALSE
36 |  | 53 | 33.0036 | 37 | 0 | 0 |  | 1 | TRUE |  | FALSE
37 |  | 54 | 35.5705 | 39 | 0 | 0 |  | 1 | TRUE |  | FALSE
38 |  | 55 | 19.8022 | 22 | 0 | 0 |  | 1 | TRUE |  | FALSE
39 |  | 57 | 44.5158 | 22 | 0 | 0 |  | 1 | TRUE |  | FALSE
40 |  | 58 | 39.9818 | 20 | 0 | 0 |  | 1 | TRUE |  | FALSE
41 |  | 59 | 37.0965 | 37 | 0 | 0 |  | 1 | TRUE |  | FALSE
42 |  | 60 | 15.2508 | 15 | 0 | 0 |  | 1 | TRUE |  | FALSE
43 |  | 61 | 29.265 | 14 | 0 | 0 |  | 1 | TRUE |  | FALSE
44 |  | 62 | 56.0569 | 28 | 0 | 0 |  | 1 | TRUE |  | FALSE
45 |  | 63 | 51.5229 | 25 | 0 | 0 |  | 1 | TRUE |  | FALSE
46 |  | 64 | 35.2417 | 35 | 0 | 0 |  | 1 | TRUE |  | FALSE
47 |  | 65 | 72.1321 | 36 | 0 | 0 |  | 1 | TRUE |  | FALSE
48 |  | 66 | 80.3758 | 40 | 0 | 0 |  | 1 | TRUE |  | FALSE
49 |  | 69 | 54.6143 | 54 | 0 | 0 |  | 1 | TRUE |  | FALSE
50 |  | 70 | 79.9636 | 39 | 0 | 0 |  | 1 | TRUE |  | FALSE
51 |  | 71 | 130.6621 | 64 | 0 | 0 |  | 1 | TRUE |  | FALSE
52 |  | 72 | 41.2183 | 20 | 0 | 0 |  | 1 | TRUE |  | FALSE
53 |  | 74 | 137.2571 | 68 | 0 | 0 |  | 1 | TRUE |  | FALSE
54 |  | 75 | 74.6052 | 37 | 0 | 0 |  | 1 | TRUE |  | FALSE
55 |  | 76 | 52.7595 | 26 | 0 | 0 |  | 1 | TRUE |  | FALSE
56 |  | 82 | 37.0965 | 37 | 0 | 0 |  | 1 | TRUE |  | FALSE
57 |  | 84 | 15.2508 | 15 | 0 | 0 |  | 1 | TRUE |  | FALSE
58 |  | 87 | 54.6143 | 54 | 0 | 0 |  | 1 | TRUE |  | FALSE
59 |  | 88 | 35.2417 | 35 | 0 | 0 |  | 1 | TRUE |  | FALSE

## sgen
| name | bus | p_mw | q_mvar | sn_mva | scaling | in_service | type | current_source | controllable | generator_type | min_p_mw | max_p_mw | min_q_mvar | max_q_mvar
0 |  | 0 | 0 | 4.96 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 20 | 0 | 10
1 |  | 0 | 0 | 0.14 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 76 | -25 | 30
2 |  | 0 | 0 | 0.14 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 76 | -25 | 30
3 |  | 1 | 0 | 4.88 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 20 | 0 | 10
4 |  | 1 | 0 | -2.31 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 76 | -25 | 30
5 |  | 1 | 0 | -2.31 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 76 | -25 | 30
6 |  | 12 | 0 | 19 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
7 |  | 12 | 0 | 19 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
8 |  | 12 | 0 | 19 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
9 |  | 14 | 0 | 6 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 12 | 0 | 6
10 |  | 14 | 0 | 80 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 155 | -50 | 80
11 |  | 22 | 220.4743 | 28.41 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 350 | -25 | 150
12 |  | 22 | 0 | 0.62 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
13 |  | 22 | 0 | 0.62 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
14 |  | 22 | 0 | 0.62 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
15 |  | 28 | 0 | 5.29 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 20 | 0 | 10
16 |  | 28 | 0 | 6.99 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 76 | -25 | 30
17 |  | 29 | 0 | 5.13 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 20 | 0 | 10
18 |  | 29 | 0 | 2.01 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 76 | -25 | 30
19 |  | 29 | 0 | 2.01 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 76 | -25 | 30
20 |  | 34 | 0 | 19 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
21 |  | 40 | 0 | 9.23 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
22 |  | 40 | 0 | 9.23 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
23 |  | 42 | 0 | 19 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
24 |  | 50 | 129.3123 | -10.31 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 155 | -50 | 80
25 |  | 50 | 0 | 20.59 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 350 | -25 | 150
26 |  | 50 | 0 | 0.24 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
27 |  | 50 | 0 | 0.24 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
28 |  | 50 | 0 | 0.24 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
29 |  | 57 | 0 | 7.95 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 20 | 0 | 10
30 |  | 57 | 0 | 16.53 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
31 |  | 57 | 0 | 16.53 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
32 |  | 58 | 0 | 6.16 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 20 | 0 | 10
33 |  | 58 | 0 | 10.99 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
34 |  | 58 | 0 | 10.99 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
35 |  | 63 | 0 | 19 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
36 |  | 71 | 0 | 6 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 12 | 0 | 6
37 |  | 71 | 0 | 6 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 12 | 0 | 6
38 |  | 71 | 0 | 6 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 12 | 0 | 6
39 |  | 71 | 0 | 6 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 12 | 0 | 6
40 |  | 71 | 0 | 19 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
41 |  | 71 | 0 | 19 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
42 |  | 71 | 0 | 60 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | 0 | 60
43 |  | 78 | 0 | -9.73 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 55 | -15 | 19
44 |  | 79 | 0 | 37.41 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 355 | -25 | 150
45 |  | 21 | 4.2 | -6.79 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 4.2 | -10 | 16
46 |  | 21 | 4.2 | -6.79 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 4.2 | -10 | 16
47 |  | 21 | 4.2 | -6.79 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 4.2 | -10 | 16
48 |  | 21 | 4.2 | -6.79 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 4.2 | -10 | 16
49 |  | 21 | 4.2 | -6.79 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 4.2 | -10 | 16
50 |  | 28 | 9.3 | 4.15 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 9.3 | -10 | 16
51 |  | 42 | 9.3 | 16 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 9.3 | -10 | 16
52 |  | 42 | 9.3 | 16 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 9.3 | -10 | 16
53 |  | 42 | 9.3 | 16 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 9.3 | -10 | 16
54 |  | 49 | 9.3 | -6.97 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 9.3 | -10 | 16
55 |  | 49 | 9.3 | -6.97 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 9.3 | -10 | 16
56 |  | 49 | 9.3 | -6.97 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 9.3 | -10 | 16
57 |  | 49 | 9.3 | -6.97 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 9.3 | -10 | 16
58 |  | 49 | 9.3 | -6.97 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 9.3 | -10 | 16
59 |  | 78 | 16.5 | -5.13 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 16.5 | -10 | 16
60 |  | 78 | 16.5 | -5.13 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 16.5 | -10 | 16
61 |  | 78 | 16.5 | -5.13 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 16.5 | -10 | 16
62 |  | 78 | 16.5 | -5.13 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 16.5 | -10 | 16
63 |  | 70 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
64 |  | 69 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
65 |  | 70 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
66 |  | 70 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
67 |  | 69 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
68 |  | 66 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
69 |  | 80 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
70 |  | 80 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
71 |  | 12 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
72 |  | 42 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
73 |  | 1 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
74 |  | 0 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
75 |  | 1 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
76 |  | 0 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
77 |  | 0 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
78 |  | 0 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
79 |  | 69 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
80 |  | 69 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
81 |  | 69 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
82 |  | 69 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
83 |  | 69 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
84 |  | 69 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
85 |  | 69 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
86 |  | 69 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
87 |  | 69 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
88 |  | 69 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
89 |  | 69 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
90 |  | 69 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
91 |  | 76 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
92 |  | 76 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
93 |  | 76 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
94 |  | 69 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
95 |  | 76 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
96 |  | 76 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
97 |  | 17 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
98 |  | 17 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
99 |  | 17 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
100 |  | 17 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
101 |  | 17 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
102 |  | 17 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
103 |  | 76 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
104 |  | 17 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
105 |  | 17 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
106 |  | 17 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
107 |  | 17 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
108 |  | 40 | 0 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 0 | 0 | 0
109 |  | 21 | 713.2 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 713.2 | 0 | 0
110 |  | 69 | 50 | 0 |  | 1 | TRUE |  | TRUE | TRUE | current_source | 0 | 50 | 0 | 0

## gen
| name | bus | p_mw | vm_pu | sn_mva | min_q_mvar | max_q_mvar | scaling | slack | in_service | slack_weight | type | min_p_mw | max_p_mw | controllable
0 |  | 0 | 0 | 1.0468 |  | 0 | 10 | 1 | FALSE | TRUE | 0 |  | 0 | 20 | TRUE
1 |  | 1 | 0 | 1.0467 |  | 0 | 10 | 1 | FALSE | TRUE | 0 |  | 0 | 20 | TRUE
2 |  | 6 | 0 | 1.05 |  | -25 | 150 | 1 | FALSE | TRUE | 0 |  | 0 | 355 | TRUE
3 |  | 14 | 0 | 1.0428 |  | 0 | 6 | 1 | FALSE | TRUE | 0 |  | 0 | 12 | TRUE
4 |  | 15 | 0 | 1.0461 |  | -50 | 80 | 1 | FALSE | TRUE | 0 |  | 0 | 155 | TRUE
5 |  | 17 | 0 | 1.05 |  | -25 | 150 | 1 | FALSE | TRUE | 0 |  | 0 | 355 | TRUE
6 |  | 22 | 155 | 1.05 |  | -50 | 80 | 1 | FALSE | TRUE | 0 |  | 0 | 155 | TRUE
7 |  | 28 | 0 | 1.05 |  | 0 | 10 | 1 | FALSE | TRUE | 0 |  | 0 | 20 | TRUE
8 |  | 29 | 0 | 1.05 |  | 0 | 10 | 1 | FALSE | TRUE | 0 |  | 0 | 20 | TRUE
9 |  | 34 | 0 | 0.9699 |  | -15 | 19 | 1 | FALSE | TRUE | 0 |  | 0 | 55 | TRUE
10 |  | 40 | 0 | 1.05 |  | -25 | 150 | 1 | FALSE | TRUE | 0 |  | 0 | 355 | TRUE
11 |  | 42 | 0 | 1.0437 |  | -15 | 19 | 1 | FALSE | TRUE | 0 |  | 0 | 55 | TRUE
12 |  | 43 | 155 | 1.0473 |  | -50 | 80 | 1 | FALSE | TRUE | 0 |  | 0 | 155 | TRUE
13 |  | 45 | 0 | 1.05 |  | -25 | 150 | 1 | FALSE | TRUE | 0 |  | 0 | 355 | TRUE
14 |  | 48 | 0 | 1.05 |  | -25 | 150 | 1 | FALSE | TRUE | 0 |  | 0 | 355 | TRUE
15 |  | 50 | 0 | 1.05 |  | -50 | 80 | 1 | FALSE | TRUE | 0 |  | 0 | 155 | TRUE
16 |  | 57 | 0 | 1.05 |  | 0 | 10 | 1 | FALSE | TRUE | 0 |  | 0 | 20 | TRUE
17 |  | 58 | 0 | 1.05 |  | 0 | 10 | 1 | FALSE | TRUE | 0 |  | 0 | 20 | TRUE
18 |  | 63 | 0 | 0.9568 |  | -15 | 19 | 1 | FALSE | TRUE | 0 |  | 0 | 55 | TRUE
19 |  | 69 | 0 | 1.035 |  | -25 | 150 | 1 | FALSE | TRUE | 0 |  | 0 | 355 | TRUE
20 |  | 71 | 0 | 1.0422 |  | 0 | 6 | 1 | FALSE | TRUE | 0 |  | 0 | 12 | TRUE
21 |  | 72 | 0 | 1.0449 |  | -50 | 80 | 1 | FALSE | TRUE | 0 |  | 0 | 155 | TRUE
22 |  | 74 | 0 | 1.05 |  | -25 | 150 | 1 | FALSE | TRUE | 0 |  | 0 | 355 | TRUE
23 |  | 77 | 0 | 1.05 |  | -25 | 150 | 1 | FALSE | TRUE | 0 |  | 0 | 355 | TRUE
24 |  | 78 | 0 | 1.05 |  | -15 | 19 | 1 | FALSE | TRUE | 0 |  | 0 | 55 | TRUE
25 |  | 79 | 0 | 1.05 |  | -25 | 150 | 1 | FALSE | TRUE | 0 |  | 0 | 355 | TRUE
26 |  | 20 | 400 | 1.05 |  | -50 | 200 | 1 | FALSE | TRUE | 0 |  | 0 | 400 | TRUE
27 |  | 21 | 4.2 | 1.05 |  | -10 | 16 | 1 | FALSE | TRUE | 0 |  | 0 | 4.2 | TRUE
28 |  | 49 | 9.3 | 1.05 |  | -10 | 16 | 1 | FALSE | TRUE | 0 |  | 0 | 9.3 | TRUE
29 |  | 76 | 0 | 1 |  | 0 | 0 | 1 | FALSE | TRUE | 0 |  | 0 | 0 | TRUE
30 |  | 70 | 0 | 1 |  | 0 | 0 | 1 | FALSE | TRUE | 0 |  | 0 | 0 | TRUE
31 |  | 66 | 0 | 1 |  | 0 | 0 | 1 | FALSE | TRUE | 0 |  | 0 | 0 | TRUE
32 |  | 80 | 0 | 1 |  | 0 | 0 | 1 | FALSE | TRUE | 0 |  | 0 | 0 | TRUE
33 |  | 68 | 0 | 1 |  | 0 | 0 | 1 | FALSE | TRUE | 0 |  | 0 | 0 | TRUE
34 |  | 75 | 0 | 1 |  | 0 | 0 | 1 | FALSE | TRUE | 0 |  | 0 | 0 | TRUE
35 |  | 3 | 0 | 1 |  | 0 | 0 | 1 | FALSE | TRUE | 0 |  | 0 | 0 | TRUE
36 |  | 39 | 0 | 1 |  | 0 | 0 | 1 | FALSE | TRUE | 0 |  | 0 | 0 | TRUE
37 |  | 2 | 0 | 1 |  | 0 | 0 | 1 | FALSE | TRUE | 0 |  | 0 | 0 | TRUE
38 |  | 18 | 0 | 1 |  | 0 | 0 | 1 | FALSE | TRUE | 0 |  | 0 | 0 | TRUE
39 |  | 64 | 0 | 1 |  | 0 | 0 | 1 | FALSE | TRUE | 0 |  | 0 | 0 | TRUE
40 |  | 65 | 142.8 | 1 |  | 0 | 0 | 1 | FALSE | TRUE | 0 |  | 0 | 142.8 | TRUE
41 |  | 73 | 523.2743 | 1 |  | 0 | 0 | 1 | FALSE | TRUE | 0 |  | 0 | 795.1 | TRUE
42 |  | 59 | 378.684 | 1 |  | 0 | 0 | 1 | FALSE | TRUE | 0 |  | 0 | 480.8 | TRUE

## shunt
| bus | name | q_mvar | p_mw | vn_kv | step | max_step | in_service
0 | 5 |  | 100 | 0 | 138 | 1 | 1 | TRUE
1 | 33 |  | 100 | 0 | 138 | 1 | 1 | TRUE
2 | 62 |  | 100 | 0 | 138 | 1 | 1 | TRUE

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service | min_p_mw | max_p_mw | min_q_mvar | max_q_mvar
0 |  | 12 | 1.0347 | 0 | 1 | TRUE | 0 | 55 | -15 | 19

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service | max_loading_percent
0 |  |  | 0 | 1 | 1 | 0.57132 | 2.6662 | 7705.359 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
1 |  |  | 0 | 2 | 1 | 10.4742 | 40.1828 | 952.7234 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
2 |  |  | 0 | 4 | 1 | 4.1897 | 16.1874 | 384.4322 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
3 |  |  | 1 | 3 | 1 | 6.2845 | 24.1859 | 568.2911 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
4 |  |  | 1 | 5 | 1 | 9.522 | 36.5645 | 869.1511 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
5 |  |  | 2 | 8 | 1 | 5.9036 | 22.6624 | 534.8622 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
6 |  |  | 3 | 8 | 1 | 5.1419 | 19.8058 | 468.0045 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
7 |  |  | 4 | 9 | 1 | 4.3801 | 16.7587 | 401.1467 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
8 |  |  | 5 | 9 | 1 | 2.6662 | 11.6168 | 41100.8197 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
9 |  |  | 6 | 7 | 1 | 3.047 | 11.6168 | 284.1456 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
10 |  |  | 27 | 30 | 1 | 7.9985 | 30.6608 | 735.4356 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
11 |  |  | 7 | 8 | 1 | 8.1889 | 31.4226 | 752.15 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
12 |  |  | 7 | 9 | 1 | 8.1889 | 31.4226 | 752.15 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
13 |  |  | 24 | 12 | 1 | 3.174 | 25.392 | 601.72 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
14 |  |  | 24 | 13 | 1 | 2.645 | 22.218 | 529.5136 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
15 |  |  | 11 | 12 | 1 | 3.174 | 25.392 | 601.72 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
16 |  |  | 11 | 22 | 1 | 6.348 | 51.313 | 1221.4916 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
17 |  |  | 12 | 22 | 1 | 5.819 | 46.023 | 1095.1304 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
18 |  |  | 12 | 42 | 1 | 5.29 | 39.675 | 950.7176 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
19 |  |  | 13 | 15 | 1 | 2.645 | 31.211 | 493.4104 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
20 |  |  | 14 | 15 | 1 | 1.058 | 8.993 | 216.6192 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
21 |  |  | 14 | 20 | 1 | 3.174 | 25.921 | 619.7716 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
22 |  |  | 14 | 20 | 1 | 3.174 | 25.921 | 619.7716 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
23 |  |  | 14 | 23 | 1 | 3.703 | 27.508 | 655.8748 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
24 |  |  | 15 | 16 | 1 | 1.587 | 13.754 | 330.946 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
25 |  |  | 15 | 18 | 1 | 1.587 | 12.167 | 294.8428 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
26 |  |  | 16 | 17 | 1 | 1.058 | 7.406 | 180.516 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
27 |  |  | 16 | 21 | 1 | 7.406 | 55.545 | 1329.8012 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
28 |  |  | 26 | 20 | 1 | 1.587 | 13.754 | 330.946 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
29 |  |  | 26 | 20 | 1 | 1.587 | 13.754 | 330.946 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
30 |  |  | 18 | 19 | 1 | 2.645 | 21.16 | 499.4276 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
31 |  |  | 18 | 19 | 1 | 2.645 | 21.16 | 499.4276 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
32 |  |  | 19 | 25 | 1 | 1.587 | 11.638 | 276.7912 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
33 |  |  | 19 | 25 | 1 | 1.587 | 11.638 | 276.7912 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
34 |  |  | 20 | 21 | 1 | 4.761 | 35.972 | 854.4424 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
35 |  |  | 25 | 44 | 1 | 5.29 | 39.146 | 932.666 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
36 |  |  | 28 | 29 | 1 | 0.57132 | 2.6662 | 7705.359 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
37 |  |  | 55 | 30 | 1 | 10.4742 | 40.1828 | 952.7234 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
38 |  |  | 55 | 32 | 1 | 4.1897 | 16.1874 | 384.4322 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
39 |  |  | 29 | 31 | 1 | 6.2845 | 24.1859 | 568.2911 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
40 |  |  | 29 | 33 | 1 | 9.522 | 36.5645 | 869.1511 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
41 |  |  | 53 | 36 | 1 | 5.9036 | 22.6624 | 534.8622 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
42 |  |  | 31 | 36 | 1 | 5.1419 | 19.8058 | 468.0045 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
43 |  |  | 32 | 37 | 1 | 4.3801 | 16.7587 | 401.1467 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
44 |  |  | 33 | 37 | 1 | 2.6662 | 11.6168 | 41100.8197 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
45 |  |  | 34 | 35 | 1 | 3.047 | 11.6168 | 284.1456 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
46 |  |  | 35 | 36 | 1 | 8.1889 | 31.4226 | 752.15 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
47 |  |  | 35 | 37 | 1 | 8.1889 | 31.4226 | 752.15 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
48 |  |  | 52 | 40 | 1 | 3.174 | 25.392 | 601.72 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
49 |  |  | 52 | 41 | 1 | 2.645 | 22.218 | 529.5136 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
50 |  |  | 39 | 40 | 1 | 3.174 | 25.392 | 601.72 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
51 |  |  | 39 | 50 | 1 | 6.348 | 51.313 | 1221.4916 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
52 |  |  | 40 | 50 | 1 | 5.819 | 46.023 | 1095.1304 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
53 |  |  | 54 | 43 | 1 | 2.645 | 31.211 | 493.4104 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
54 |  |  | 42 | 43 | 1 | 1.058 | 8.993 | 216.6192 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
55 |  |  | 42 | 48 | 1 | 3.174 | 25.921 | 619.7716 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
56 |  |  | 42 | 48 | 1 | 3.174 | 25.921 | 619.7716 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
57 |  |  | 42 | 51 | 1 | 3.703 | 27.508 | 655.8748 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
58 |  |  | 43 | 44 | 1 | 1.587 | 13.754 | 330.946 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
59 |  |  | 43 | 46 | 1 | 1.587 | 12.167 | 294.8428 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
60 |  |  | 56 | 45 | 1 | 1.058 | 7.406 | 180.516 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
61 |  |  | 56 | 49 | 1 | 7.406 | 55.545 | 1329.8012 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
62 |  |  | 45 | 48 | 1 | 1.587 | 13.754 | 330.946 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
63 |  |  | 45 | 48 | 1 | 1.587 | 13.754 | 330.946 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
64 |  |  | 46 | 47 | 1 | 2.645 | 21.16 | 499.4276 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
65 |  |  | 46 | 47 | 1 | 2.645 | 21.16 | 499.4276 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
66 |  |  | 47 | 50 | 1 | 1.587 | 11.638 | 276.7912 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
67 |  |  | 47 | 50 | 1 | 1.587 | 11.638 | 276.7912 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
68 |  |  | 48 | 49 | 1 | 4.761 | 35.972 | 854.4424 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
69 |  |  | 57 | 58 | 1 | 0.57132 | 2.6662 | 7705.359 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
70 |  |  | 57 | 82 | 1 | 10.4742 | 40.1828 | 952.7234 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
71 |  |  | 57 | 61 | 1 | 4.1897 | 16.1874 | 384.4322 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
72 |  |  | 58 | 60 | 1 | 6.2845 | 24.1859 | 568.2911 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
73 |  |  | 58 | 62 | 1 | 9.522 | 36.5645 | 869.1511 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
74 |  |  | 82 | 65 | 1 | 5.9036 | 22.6624 | 534.8622 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
75 |  |  | 84 | 65 | 1 | 5.1419 | 19.8058 | 468.0045 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
76 |  |  | 61 | 66 | 1 | 4.3801 | 16.7587 | 401.1467 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
77 |  |  | 62 | 66 | 1 | 2.6662 | 11.6168 | 41100.8197 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
78 |  |  | 63 | 88 | 1 | 3.047 | 11.6168 | 284.1456 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
79 |  |  | 88 | 65 | 1 | 8.1889 | 31.4226 | 752.15 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
80 |  |  | 64 | 66 | 1 | 8.1889 | 31.4226 | 752.15 | 0 | 0.73215 | 1 | 1 | ol | TRUE | 100
81 |  |  | 67 | 87 | 1 | 3.174 | 25.392 | 601.72 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
82 |  |  | 83 | 70 | 1 | 2.645 | 22.218 | 529.5136 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
83 |  |  | 68 | 87 | 1 | 3.174 | 25.392 | 601.72 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
84 |  |  | 68 | 85 | 1 | 6.348 | 51.313 | 1221.4916 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
85 |  |  | 69 | 85 | 1 | 5.819 | 46.023 | 1095.1304 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
86 |  |  | 70 | 72 | 1 | 2.645 | 31.211 | 493.4104 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
87 |  |  | 71 | 72 | 1 | 1.058 | 8.993 | 216.6192 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
88 |  |  | 71 | 89 | 1 | 3.174 | 25.921 | 619.7716 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
89 |  |  | 71 | 89 | 1 | 3.174 | 25.921 | 619.7716 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
90 |  |  | 71 | 80 | 1 | 3.703 | 27.508 | 655.8748 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
91 |  |  | 72 | 86 | 1 | 1.587 | 13.754 | 330.946 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
92 |  |  | 72 | 75 | 1 | 1.587 | 12.167 | 294.8428 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
93 |  |  | 86 | 74 | 1 | 1.058 | 7.406 | 180.516 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
94 |  |  | 73 | 78 | 1 | 7.406 | 55.545 | 1329.8012 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
95 |  |  | 74 | 89 | 1 | 1.587 | 13.754 | 330.946 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
96 |  |  | 74 | 89 | 1 | 1.587 | 13.754 | 330.946 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
97 |  |  | 75 | 76 | 1 | 2.645 | 21.16 | 499.4276 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
98 |  |  | 75 | 76 | 1 | 2.645 | 21.16 | 499.4276 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
99 |  |  | 76 | 79 | 1 | 1.587 | 11.638 | 276.7912 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
100 |  |  | 76 | 79 | 1 | 1.587 | 11.638 | 276.7912 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
101 |  |  | 77 | 78 | 1 | 4.761 | 35.972 | 854.4424 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
102 |  |  | 81 | 20 | 1 | 6.348 | 51.313 | 1221.4916 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
103 |  |  | 74 | 50 | 1 | 6.877 | 55.016 | 1311.7496 | 0 | 1.2551 | 1 | 1 | ol | TRUE | 100
104 |  |  | 85 | 81 | 1 | 0 | 4.761 | 0 | 0 | 1.8124 | 1 | 1 | ol | TRUE | 100
105 |  |  | 10 | 24 | 1 | 0 | 0 | 1311.7496 | 0 | 5.0204 | 1 | 1 | ol | TRUE | 100
106 |  |  | 59 | 82 | 1 | 0 | 0 | 3643.749 | 0 | 8.3674 | 1 | 1 | ol | TRUE | 100
107 |  |  | 38 | 52 | 1 | 0 | 0 | 1311.7496 | 0 | 5.0204 | 1 | 1 | ol | TRUE | 100
108 |  |  | 22 | 25 | 1 | 0 | 0 | 1311.7496 | 0 | 5.0204 | 1 | 1 | ol | TRUE | 100
109 |  |  | 67 | 83 | 1 | 0 | 0 | 1311.7496 | 0 | 5.0204 | 1 | 1 | ol | TRUE | 100
110 |  |  | 60 | 84 | 1 | 0 | 0 | 3643.749 | 0 | 8.3674 | 1 | 1 | ol | TRUE | 100
111 |  |  | 79 | 85 | 1 | 0 | 0 | 1311.7496 | 0 | 5.0204 | 1 | 1 | ol | TRUE | 100
112 |  |  | 73 | 86 | 1 | 0 | 0 | 1311.7496 | 0 | 5.0204 | 1 | 1 | ol | TRUE | 100
113 |  |  | 69 | 87 | 1 | 0 | 0 | 1311.7496 | 0 | 5.0204 | 1 | 1 | ol | TRUE | 100
114 |  |  | 30 | 53 | 1 | 0 | 0 | 3643.749 | 0 | 8.3674 | 1 | 1 | ol | TRUE | 100
115 |  |  | 64 | 88 | 1 | 0 | 0 | 3643.749 | 0 | 8.3674 | 1 | 1 | ol | TRUE | 100
116 |  |  | 77 | 89 | 1 | 0 | 0 | 1311.7496 | 0 | 5.0204 | 1 | 1 | ol | TRUE | 100
117 |  |  | 17 | 26 | 1 | 0 | 0 | 1311.7496 | 0 | 5.0204 | 1 | 1 | ol | TRUE | 100
118 |  |  | 68 | 90 | 1 | 0 | 0 | 1311.7496 | 0 | 5.0204 | 1 | 1 | ol | TRUE | 100
119 |  |  | 41 | 54 | 1 | 0 | 0 | 1311.7496 | 0 | 5.0204 | 1 | 1 | ol | TRUE | 100
120 |  |  | 28 | 55 | 1 | 0 | 0 | 3643.749 | 0 | 8.3674 | 1 | 1 | ol | TRUE | 100
121 |  |  | 44 | 56 | 1 | 0 | 0 | 1311.7496 | 0 | 5.0204 | 1 | 1 | ol | TRUE | 100
122 |  |  | 6 | 27 | 1 | 0 | 0 | 3643.749 | 0 | 8.3674 | 1 | 1 | ol | TRUE | 100

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service | max_loading_percent
0 |  |  | 23 | 2 | 400 | 230 | 138 | 33.6095 | 0.8 | 0 | 0 | 0 | hv | 0 |  |  | 1.5 |  | 1 | FALSE | 1 | 1 | TRUE | 100
1 |  |  | 24 | 8 | 400 | 230 | 138 | 33.6095 | 0.8 | 0 | 0 | 0 | hv | 0 |  |  | 3 |  | 1 | FALSE | 1 | 1 | TRUE | 100
2 |  |  | 11 | 8 | 400 | 230 | 138 | 33.6095 | 0.8 | 0 | 0 | 0 | hv | 0 |  |  | 3 |  | 1 | FALSE | 1 | 1 | TRUE | 100
3 |  |  | 10 | 9 | 400 | 230 | 138 | 33.6095 | 0.8 | 0 | 0 | 0 | hv | 0 |  |  | 1.5 |  | 1 | FALSE | 1 | 1 | TRUE | 100
4 |  |  | 11 | 9 | 400 | 230 | 138 | 33.6095 | 0.8 | 0 | 0 | 0 | hv | 0 |  |  | 1.5 |  | 1 | FALSE | 1 | 1 | TRUE | 100
5 |  |  | 51 | 53 | 400 | 230 | 138 | 33.6095 | 0.8 | 0 | 0 | 0 | hv | 0 |  |  | 1.5 |  | 1 | FALSE | 1 | 1 | TRUE | 100
6 |  |  | 38 | 36 | 400 | 230 | 138 | 33.6095 | 0.8 | 0 | 0 | 0 | hv | 0 |  |  | 3 |  | 1 | FALSE | 1 | 1 | TRUE | 100
7 |  |  | 39 | 36 | 400 | 230 | 138 | 33.6095 | 0.8 | 0 | 0 | 0 | hv | 0 |  |  | 3 |  | 1 | FALSE | 1 | 1 | TRUE | 100
8 |  |  | 38 | 37 | 400 | 230 | 138 | 33.6095 | 0.8 | 0 | 0 | 0 | hv | 0 |  |  | 1.5 |  | 1 | FALSE | 1 | 1 | TRUE | 100
9 |  |  | 39 | 37 | 400 | 230 | 138 | 33.6095 | 0.8 | 0 | 0 | 0 | hv | 0 |  |  | 1.5 |  | 1 | FALSE | 1 | 1 | TRUE | 100
10 |  |  | 80 | 59 | 400 | 230 | 138 | 33.6095 | 0.8 | 0 | 0 | 0 | hv | 0 |  |  | 1.5 |  | 1 | FALSE | 1 | 1 | TRUE | 100
11 |  |  | 83 | 65 | 400 | 230 | 138 | 33.6095 | 0.8 | 0 | 0 | 0 | hv | 0 |  |  | 3 |  | 1 | FALSE | 1 | 1 | TRUE | 100
12 |  |  | 90 | 65 | 400 | 230 | 138 | 33.6095 | 0.8 | 0 | 0 | 0 | hv | 0 |  |  | 3 |  | 1 | FALSE | 1 | 1 | TRUE | 100
13 |  |  | 83 | 66 | 400 | 230 | 138 | 33.6095 | 0.8 | 0 | 0 | 0 | hv | 0 |  |  | 1.5 |  | 1 | FALSE | 1 | 1 | TRUE | 100
14 |  |  | 68 | 66 | 400 | 230 | 138 | 33.6095 | 0.8 | 0 | 0 | 0 | hv | 0 |  |  | 1.5 |  | 1 | FALSE | 1 | 1 | TRUE | 100

## poly_cost
| element | et | cp0_eur | cp1_eur_per_mw | cp2_eur_per_mw2 | cq0_eur | cq1_eur_per_mvar | cq2_eur_per_mvar2
0 | 0 | ext_grid | 0 | 135.722 | 0 | 0 | 0 | 0
1 | 0 | gen | 0 | 135.722 | 0 | 0 | 0 | 0
2 | 1 | gen | 0 | 28.0526 | 0 | 0 | 0 | 0
3 | 2 | gen | 0 | 28.0526 | 0 | 0 | 0 | 0
4 | 3 | gen | 0 | 151.5049 | 0 | 0 | 0 | 0
5 | 4 | gen | 0 | 151.5049 | 0 | 0 | 0 | 0
6 | 5 | gen | 0 | 24.5033 | 0 | 0 | 0 | 0
7 | 6 | gen | 0 | 24.5033 | 0 | 0 | 0 | 0
8 | 7 | gen | 0 | 28.0735 | 0 | 0 | 0 | 0
9 | 8 | gen | 0 | 51.0198 | 0 | 0 | 0 | 0
10 | 9 | gen | 0 | 51.0198 | 0 | 0 | 0 | 0
11 | 10 | gen | 0 | 51.0198 | 0 | 0 | 0 | 0
12 | 11 | gen | 0 | 51.0198 | 0 | 0 | 0 | 0
13 | 12 | gen | 0 | 179.4586 | 0 | 0 | 0 | 0
14 | 13 | gen | 0 | 179.4586 | 0 | 0 | 0 | 0
15 | 14 | gen | 0 | 24.1967 | 0 | 0 | 0 | 0
16 | 15 | gen | 0 | 27.985 | 0 | 0 | 0 | 0
17 | 16 | gen | 0 | 28.2096 | 0 | 0 | 0 | 0
18 | 17 | gen | 0 | 23.1841 | 0 | 0 | 0 | 0
19 | 18 | gen | 0 | 25.592 | 0 | 0 | 0 | 0
20 | 19 | gen | 0 | 49.4649 | 0 | 0 | 0 | 0
21 | 20 | gen | 0 | 49.4649 | 0 | 0 | 0 | 0
22 | 21 | gen | 0 | 49.4649 | 0 | 0 | 0 | 0
23 | 22 | gen | 0 | 144.6536 | 0 | 0 | 0 | 0
24 | 23 | gen | 0 | 144.6536 | 0 | 0 | 0 | 0
25 | 24 | gen | 0 | 27.4586 | 0 | 0 | 0 | 0
26 | 25 | gen | 0 | 141.4039 | 0 | 0 | 0 | 0
27 | 26 | gen | 0 | 141.4039 | 0 | 0 | 0 | 0
28 | 27 | gen | 0 | 25.0423 | 0 | 0 | 0 | 0
29 | 28 | gen | 0 | 25.0423 | 0 | 0 | 0 | 0
30 | 29 | gen | 0 | 50.7321 | 0 | 0 | 0 | 0
31 | 30 | gen | 0 | 50.7321 | 0 | 0 | 0 | 0
32 | 31 | gen | 0 | 30.4136 | 0 | 0 | 0 | 0
33 | 32 | gen | 0 | 51.0198 | 0 | 0 | 0 | 0
34 | 33 | gen | 0 | 51.0198 | 0 | 0 | 0 | 0
35 | 34 | gen | 0 | 55.3113 | 0 | 0 | 0 | 0
36 | 35 | gen | 0 | 55.3113 | 0 | 0 | 0 | 0
37 | 36 | gen | 0 | 23.0023 | 0 | 0 | 0 | 0
38 | 37 | gen | 0 | 44.256 | 0 | 0 | 0 | 0
39 | 38 | gen | 0 | 26.7713 | 0 | 0 | 0 | 0
40 | 39 | gen | 0 | 22.9516 | 0 | 0 | 0 | 0
41 | 40 | gen | 0 | 22.9516 | 0 | 0 | 0 | 0
42 | 41 | gen | 0 | 23.738 | 0 | 0 | 0 | 0
43 | 42 | gen | 0 | 76.9436 | 0 | 0 | 0 | 0
44 | 0 | sgen | 0 | 76.9436 | 0 | 0 | 0 | 0
45 | 1 | sgen | 0 | 76.9436 | 0 | 0 | 0 | 0
46 | 2 | sgen | 0 | 151.0288 | 0 | 0 | 0 | 0
47 | 3 | sgen | 0 | 151.0288 | 0 | 0 | 0 | 0
48 | 4 | sgen | 0 | 50.8837 | 0 | 0 | 0 | 0
49 | 5 | sgen | 0 | 50.8837 | 0 | 0 | 0 | 0
50 | 6 | sgen | 0 | 151.0288 | 0 | 0 | 0 | 0
51 | 7 | sgen | 0 | 151.0288 | 0 | 0 | 0 | 0
52 | 8 | sgen | 0 | 59.8438 | 0 | 0 | 0 | 0
53 | 9 | sgen | 0 | 59.8438 | 0 | 0 | 0 | 0
54 | 10 | sgen | 0 | 51.9061 | 0 | 0 | 0 | 0
55 | 11 | sgen | 0 | 51.9061 | 0 | 0 | 0 | 0
56 | 12 | sgen | 0 | 30.8412 | 0 | 0 | 0 | 0
57 | 13 | sgen | 0 | 149.1349 | 0 | 0 | 0 | 0
58 | 14 | sgen | 0 | 149.1349 | 0 | 0 | 0 | 0
59 | 15 | sgen | 0 | 149.1349 | 0 | 0 | 0 | 0
60 | 16 | sgen | 0 | 149.1349 | 0 | 0 | 0 | 0
61 | 17 | sgen | 0 | 149.1349 | 0 | 0 | 0 | 0
62 | 18 | sgen | 0 | 40.2016 | 0 | 0 | 0 | 0
63 | 19 | sgen | 0 | 40.2016 | 0 | 0 | 0 | 0
64 | 20 | sgen | 0 | 40.2016 | 0 | 0 | 0 | 0
65 | 21 | sgen | 0 | 25.0423 | 0 | 0 | 0 | 0
66 | 22 | sgen | 0 | 30.9112 | 0 | 0 | 0 | 0
67 | 23 | sgen | 0 | 28.0929 | 0 | 0 | 0 | 0
68 | 24 | sgen | 0 | 46.8954 | 0 | 0 | 0 | 0
69 | 25 | sgen | 0 | 46.8954 | 0 | 0 | 0 | 0
70 | 26 | sgen | 0 | 28.6916 | 0 | 0 | 0 | 0
71 | 27 | sgen | 0 | 28.6916 | 0 | 0 | 0 | 0
72 | 28 | sgen | 0 | 8.1035 | 0 | 0 | 0 | 0
73 | 29 | sgen | 0 | 0 | 0 | 0 | 0 | 0
74 | 30 | sgen | 0 | 0 | 0 | 0 | 0 | 0
75 | 31 | sgen | 0 | 0 | 0 | 0 | 0 | 0
76 | 32 | sgen | 0 | 0 | 0 | 0 | 0 | 0
77 | 33 | sgen | 0 | 0 | 0 | 0 | 0 | 0
78 | 34 | sgen | 0 | 0 | 0 | 0 | 0 | 0
79 | 35 | sgen | 0 | 0 | 0 | 0 | 0 | 0
80 | 36 | sgen | 0 | 0 | 0 | 0 | 0 | 0
81 | 37 | sgen | 0 | 0 | 0 | 0 | 0 | 0
82 | 38 | sgen | 0 | 0 | 0 | 0 | 0 | 0
83 | 39 | sgen | 0 | 0 | 0 | 0 | 0 | 0
84 | 40 | sgen | 0 | 0 | 0 | 0 | 0 | 0
85 | 41 | sgen | 0 | 0 | 0 | 0 | 0 | 0
86 | 42 | sgen | 0 | 0 | 0 | 0 | 0 | 0
87 | 43 | sgen | 0 | 0 | 0 | 0 | 0 | 0
88 | 44 | sgen | 0 | 0 | 0 | 0 | 0 | 0
89 | 45 | sgen | 0 | 0 | 0 | 0 | 0 | 0
90 | 46 | sgen | 0 | 0 | 0 | 0 | 0 | 0
91 | 47 | sgen | 0 | 0 | 0 | 0 | 0 | 0
92 | 48 | sgen | 0 | 0 | 0 | 0 | 0 | 0
93 | 49 | sgen | 0 | 0 | 0 | 0 | 0 | 0
94 | 50 | sgen | 0 | 0 | 0 | 0 | 0 | 0
95 | 51 | sgen | 0 | 0 | 0 | 0 | 0 | 0
96 | 52 | sgen | 0 | 0 | 0 | 0 | 0 | 0
97 | 53 | sgen | 0 | 0 | 0 | 0 | 0 | 0
98 | 54 | sgen | 0 | 0 | 0 | 0 | 0 | 0
99 | 55 | sgen | 0 | 0 | 0 | 0 | 0 | 0
100 | 56 | sgen | 0 | 0 | 0 | 0 | 0 | 0
101 | 57 | sgen | 0 | 0 | 0 | 0 | 0 | 0
102 | 58 | sgen | 0 | 0 | 0 | 0 | 0 | 0
103 | 59 | sgen | 0 | 0 | 0 | 0 | 0 | 0
104 | 60 | sgen | 0 | 0 | 0 | 0 | 0 | 0
105 | 61 | sgen | 0 | 0 | 0 | 0 | 0 | 0
106 | 62 | sgen | 0 | 0 | 0 | 0 | 0 | 0
107 | 63 | sgen | 0 | 0 | 0 | 0 | 0 | 0
108 | 64 | sgen | 0 | 0 | 0 | 0 | 0 | 0
109 | 65 | sgen | 0 | 0 | 0 | 0 | 0 | 0
110 | 66 | sgen | 0 | 0 | 0 | 0 | 0 | 0
111 | 67 | sgen | 0 | 0 | 0 | 0 | 0 | 0
112 | 68 | sgen | 0 | 0 | 0 | 0 | 0 | 0
113 | 69 | sgen | 0 | 0 | 0 | 0 | 0 | 0
114 | 70 | sgen | 0 | 0 | 0 | 0 | 0 | 0
115 | 71 | sgen | 0 | 0 | 0 | 0 | 0 | 0
116 | 72 | sgen | 0 | 0 | 0 | 0 | 0 | 0
117 | 73 | sgen | 0 | 0 | 0 | 0 | 0 | 0
118 | 74 | sgen | 0 | 0 | 0 | 0 | 0 | 0
119 | 75 | sgen | 0 | 0 | 0 | 0 | 0 | 0
120 | 76 | sgen | 0 | 0 | 0 | 0 | 0 | 0
121 | 77 | sgen | 0 | 0 | 0 | 0 | 0 | 0
122 | 78 | sgen | 0 | 0 | 0 | 0 | 0 | 0
123 | 79 | sgen | 0 | 0 | 0 | 0 | 0 | 0
124 | 80 | sgen | 0 | 0 | 0 | 0 | 0 | 0
125 | 81 | sgen | 0 | 0 | 0 | 0 | 0 | 0
126 | 82 | sgen | 0 | 0 | 0 | 0 | 0 | 0
127 | 83 | sgen | 0 | 0 | 0 | 0 | 0 | 0
128 | 84 | sgen | 0 | 0 | 0 | 0 | 0 | 0
129 | 85 | sgen | 0 | 0 | 0 | 0 | 0 | 0
130 | 86 | sgen | 0 | 0 | 0 | 0 | 0 | 0
131 | 87 | sgen | 0 | 0 | 0 | 0 | 0 | 0
132 | 88 | sgen | 0 | 0 | 0 | 0 | 0 | 0
133 | 89 | sgen | 0 | 0 | 0 | 0 | 0 | 0
134 | 90 | sgen | 0 | 0 | 0 | 0 | 0 | 0
135 | 91 | sgen | 0 | 0 | 0 | 0 | 0 | 0
136 | 92 | sgen | 0 | 0 | 0 | 0 | 0 | 0
137 | 93 | sgen | 0 | 0 | 0 | 0 | 0 | 0
138 | 94 | sgen | 0 | 0 | 0 | 0 | 0 | 0
139 | 95 | sgen | 0 | 0 | 0 | 0 | 0 | 0
140 | 96 | sgen | 0 | 0 | 0 | 0 | 0 | 0
141 | 97 | sgen | 0 | 0 | 0 | 0 | 0 | 0
142 | 98 | sgen | 0 | 0 | 0 | 0 | 0 | 0
143 | 99 | sgen | 0 | 0 | 0 | 0 | 0 | 0
144 | 100 | sgen | 0 | 0 | 0 | 0 | 0 | 0
145 | 101 | sgen | 0 | 0 | 0 | 0 | 0 | 0
146 | 102 | sgen | 0 | 0 | 0 | 0 | 0 | 0
147 | 103 | sgen | 0 | 0 | 0 | 0 | 0 | 0
148 | 104 | sgen | 0 | 0 | 0 | 0 | 0 | 0
149 | 105 | sgen | 0 | 0 | 0 | 0 | 0 | 0
150 | 106 | sgen | 0 | 0 | 0 | 0 | 0 | 0
151 | 107 | sgen | 0 | 0 | 0 | 0 | 0 | 0
152 | 108 | sgen | 0 | 0 | 0 | 0 | 0 | 0
153 | 109 | sgen | 0 | 0 | 0 | 0 | 0 | 0
154 | 110 | sgen | 0 | 0 | 0 | 0 | 0 | 0

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14

## res_ext_grid
| p_mw | q_mvar
0

## res_load
| p_mw | q_mvar
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59

## res_sgen
| p_mw | q_mvar
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110

## res_shunt
| p_mw | q_mvar | vm_pu
0
1
2

## res_gen
| p_mw | q_mvar | va_degree | vm_pu
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | bus | min_vm_pu | float64
6 | bus | max_vm_pu | float64
7 | load | name | object
8 | load | bus | uint32
9 | load | p_mw | float64
10 | load | q_mvar | float64
11 | load | const_z_percent | float64
12 | load | const_i_percent | float64
13 | load | sn_mva | float64
14 | load | scaling | float64
15 | load | in_service | bool
16 | load | type | object
17 | load | controllable | bool
18 | sgen | name | object
19 | sgen | bus | int64
20 | sgen | p_mw | float64
21 | sgen | q_mvar | float64
22 | sgen | sn_mva | float64
23 | sgen | scaling | float64
24 | sgen | in_service | bool
25 | sgen | type | object
26 | sgen | current_source | bool
27 | sgen | controllable | bool
28 | sgen | generator_type | object
29 | sgen | min_p_mw | float64
30 | sgen | max_p_mw | float64
31 | sgen | min_q_mvar | float64
32 | sgen | max_q_mvar | float64
33 | gen | name | object
34 | gen | bus | uint32
35 | gen | p_mw | float64
36 | gen | vm_pu | float64
37 | gen | sn_mva | float64
38 | gen | min_q_mvar | float64
39 | gen | max_q_mvar | float64
40 | gen | scaling | float64
41 | gen | slack | bool
42 | gen | in_service | bool
43 | gen | slack_weight | float64
44 | gen | type | object
45 | gen | min_p_mw | float64
46 | gen | max_p_mw | float64
47 | gen | controllable | bool
48 | shunt | bus | uint32
49 | shunt | name | object
50 | shunt | q_mvar | float64
51 | shunt | p_mw | float64
52 | shunt | vn_kv | float64
53 | shunt | step | uint32
54 | shunt | max_step | uint32
55 | shunt | in_service | bool
56 | ext_grid | name | object
57 | ext_grid | bus | uint32
58 | ext_grid | vm_pu | float64
59 | ext_grid | va_degree | float64
60 | ext_grid | slack_weight | float64
61 | ext_grid | in_service | bool
62 | ext_grid | min_p_mw | float64
63 | ext_grid | max_p_mw | float64
64 | ext_grid | min_q_mvar | float64
65 | ext_grid | max_q_mvar | float64
66 | line | name | object
67 | line | std_type | object
68 | line | from_bus | uint32
69 | line | to_bus | uint32
70 | line | length_km | float64
71 | line | r_ohm_per_km | float64
72 | line | x_ohm_per_km | float64
73 | line | c_nf_per_km | float64
74 | line | g_us_per_km | float64
75 | line | max_i_ka | float64
76 | line | df | float64
77 | line | parallel | uint32
78 | line | type | object
79 | line | in_service | bool
80 | line | max_loading_percent | float64
81 | trafo | name | object
82 | trafo | std_type | object
83 | trafo | hv_bus | uint32
84 | trafo | lv_bus | uint32
85 | trafo | sn_mva | float64
86 | trafo | vn_hv_kv | float64
87 | trafo | vn_lv_kv | float64
88 | trafo | vk_percent | float64
89 | trafo | vkr_percent | float64
90 | trafo | pfe_kw | float64
91 | trafo | i0_percent | float64
92 | trafo | shift_degree | float64
93 | trafo | tap_side | object
94 | trafo | tap_neutral | int32
95 | trafo | tap_min | float64
96 | trafo | tap_max | float64
97 | trafo | tap_step_percent | float64
98 | trafo | tap_step_degree | float64
99 | trafo | tap_pos | int32
100 | trafo | tap_phase_shifter | bool
101 | trafo | parallel | uint32
102 | trafo | df | float64
103 | trafo | in_service | bool
104 | trafo | max_loading_percent | float64
105 | poly_cost | element | uint32
106 | poly_cost | et | object
107 | poly_cost | cp0_eur | float64
108 | poly_cost | cp1_eur_per_mw | float64
109 | poly_cost | cp2_eur_per_mw2 | float64
110 | poly_cost | cq0_eur | float64
111 | poly_cost | cq1_eur_per_mvar | float64
112 | poly_cost | cq2_eur_per_mvar2 | float64
113 | res_bus | vm_pu | float64
114 | res_bus | va_degree | float64
115 | res_bus | p_mw | float64
116 | res_bus | q_mvar | float64
117 | res_line | p_from_mw | float64
118 | res_line | q_from_mvar | float64
119 | res_line | p_to_mw | float64
120 | res_line | q_to_mvar | float64
121 | res_line | pl_mw | float64
122 | res_line | ql_mvar | float64
123 | res_line | i_from_ka | float64
124 | res_line | i_to_ka | float64
125 | res_line | i_ka | float64
126 | res_line | vm_from_pu | float64
127 | res_line | va_from_degree | float64
128 | res_line | vm_to_pu | float64
129 | res_line | va_to_degree | float64
130 | res_line | loading_percent | float64
131 | res_trafo | p_hv_mw | float64
132 | res_trafo | q_hv_mvar | float64
133 | res_trafo | p_lv_mw | float64
134 | res_trafo | q_lv_mvar | float64
135 | res_trafo | pl_mw | float64
136 | res_trafo | ql_mvar | float64
137 | res_trafo | i_hv_ka | float64
138 | res_trafo | i_lv_ka | float64
139 | res_trafo | vm_hv_pu | float64
140 | res_trafo | va_hv_degree | float64
141 | res_trafo | vm_lv_pu | float64
142 | res_trafo | va_lv_degree | float64
143 | res_trafo | loading_percent | float64
144 | res_ext_grid | p_mw | float64
145 | res_ext_grid | q_mvar | float64
146 | res_load | p_mw | float64
147 | res_load | q_mvar | float64
148 | res_sgen | p_mw | float64
149 | res_sgen | q_mvar | float64
150 | res_shunt | p_mw | float64
151 | res_shunt | q_mvar | float64
152 | res_shunt | vm_pu | float64
153 | res_gen | p_mw | float64
154 | res_gen | q_mvar | float64
155 | res_gen | va_degree | float64
156 | res_gen | vm_pu | float64